The Cover Tests (Cover-Uncover & Alternate)

Equipment Needed: An occluder (opaque or semi-opaque) and detailed fixation targets (distance and near). A prism bar (for the Prism Cover Test).

I. Preparation & Target Selection

- Lighting & Posture: Ensure the room illumination is high and the patient is well-lit, but avoid causing glare.

- Refractive Correction: The patient should wear their habitual refractive correction for the distance being tested.

- Target Choice: Use a letter from the line above the worst eye’s visual acuity. If the visual acuity is worse than 6/60, a spotlight can be used. Make sure the target is detailed enough to ensure fixation is easily maintained.

II. Procedure 1: The Cover Test (Detecting Manifest Strabismus/Tropia)

- If you suspect a strabismus in one eye, cover the "good" eye first to observe the purest orthoptic state.

- Watch the eye carefully as the cover approaches; a movement seen before the cover reaches the eye may indicate a dissociated vertical deviation (DVD).

- As the cover moves over the eye, watch the uncovered eye. If the uncovered eye moves to take up fixation, a manifest strabismus (heterotropia) is present.

- Hold the cover in place long enough to get a good result—recommendations range from 1–2 seconds up to 4–5 seconds.

III. Procedure 2: The Uncover Test (Detecting Latent Deviation/Heterophoria)

- Slowly remove the cover and observe the eye that was just covered.

- Remove the cover vertically (upwards); this prevents you from accidentally covering your own eye and blocking your observation.

- If a movement occurs as the eye regains binocular fixation, a heterophoria is present.

- Grade the quality of the recovery movement, which is a great predictor of whether a phoria is decompensating (causing symptoms). Grade it on a scale of 1 to 5:

  - Grade 1: Rapid and smooth.

  - Grade 2: Slightly slow/jerky.

  - Grade 3: Definitely slow/jerky but not breaking down.

  - Grade 4: Slow/jerky and breaks down with repeat covering, or only recovers after a blink.

  - Grade 5: Breaks down readily after 1–3 covers.

IV. Procedure 3: The Alternating Cover Test (Revealing the Total Deviation)

- After the cover/uncover test, alternate the cover from one eye to the other for about 6 further covers to break down fusion completely.

- Observe how the angle changes or "builds" towards the total angle.

- As the angle builds, it often becomes much easier to detect smaller vertical deviations.

V. Clinical Value & Estimating Amplitude

- Visual Estimation: You can accurately estimate the size of the deviation without prisms by watching the amplitude of the refixation saccade:

  - At 6 meters, the 6/12 Snellen line is about 12 cm long. An eye jumping from one end of this line to the other equals an angular movement of 2 prism diopters (2Δ).

  - At near (1/3 meter), using a centimeter ruler as a target, a jump from the 1 cm mark to the 2 cm mark equates to 3Δ.

- Prism Cover Test: To objectively measure the angle, place a prism bar over the deviating eye and alter the power during the alternate cover test until no movement is seen.

VI. Advanced Clinical Pearls

- Amblyopia delay: If amblyopia is suspected, hold the cover over the good eye a little longer, as the amblyopic eye takes more time to take up fixation.

- The Microtropia Trap: Do not assume there is no strabismus just because you see no movement on the cover test. A microtropia with identity will show absolutely no movement because the angle of the strabismus perfectly matches the angle of their eccentric fixation.

- Prism Stacking Warning: When using loose prisms to measure large angles, do not stack prisms with bases in the same direction (e.g., holding a 40Δ and a 5Δ together). They do not add arithmetically and will result in significant measurement errors (e.g., 40Δ+5Δ≈58Δ).

- Semi-Opaque Occluders: Consider using a semi-opaque occluder. This suspends the patient's normal binocular vision (they see worse than 6/60 through it), but allows the practitioner to actually see what the occluded eye is doing behind the cover.